Literature Review

Table 1. Summary of Recent Related Work on Graph-Based sEMG Analysis and Gesture Recognition (2022–2025)

| Title | Author& Year | Dataset | Application area | Method / model | Metrics | Strengths | Limitations | Research gap | Relation to this work |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Improved Multi-Stream Convolutional Block Attention Module for sEMG-Based Gesture Recognition | Wang et al., 2022 | NinaPro DB1; custom sEMG–ACC | Prosthetic and HMI control | Multi-stream 1D-CNN + GRU + CBAM attention | DB1 Acc: 89.70%; Custom Acc: 94.10%; delay <300 ms | All 52 DB1 gestures; temporal and channel features | No electrode graph; unclear cross-subject test | Graph-based electrode relationships | Direct non-GNN DB1 baseline |
| A Hybrid Model Based on ResNet and GCN for sEMG-Based Gesture Recognition | Xu & Jiang, 2023 | NinaPro DB1 | Gesture recognition | ResNet–GCN; muscle-synergy graph; joint voting | Acc: 90.07% | GCN on DB1; muscle-synergy learning | Graph edges unclear; no attention | Clear adaptive graph and strict subject split | Main GCN baseline |
| Stretchable Array Electromyography Sensor With Graph Neural Network for Static and Dynamic Gestures Recognition System | Lee et al., 2023 | Custom 8-channel sEMG; 18 gestures | Wearable and prosthetic control | Spatiotemporal GNN; electrodes as nodes; self-attention adjacency | Avg. Acc: ≈97%; long-term Acc: 96.61% | Adaptive input-specific graph; 250 ms windows | Custom sensor; small dataset | Public-dataset and unseen-subject validation | Reference for adaptive graph attention |
| A Spatio-Temporal Graph Convolutional Network for Gesture Recognition From High-Density Electromyography | Zhong et al., 2023 | Public HD-sEMG; 65 gestures | Prosthetic and HMI control | STGCN-GR; functional-connectivity electrode graph + temporal convolution | Acc: 91.07% | Spatial and temporal learning; 65 gestures | High-density EMG differs from DB1 | Adapt graph to sparse 10-channel EMG | Reference for spatiotemporal GCN |
| A Graph Neural Network Model for Real-Time Gesture Recognition Based on sEMG Signals | Vipulanandan et al., 2024 | Custom Myo data; 8 electrodes, 8 subjects | Real-time prosthetic and AR control | Real-time GNN; muscle-activation graph | Acc: 99%; runtime: 48 ms | High accuracy; fast inference | Small custom dataset; graph details limited | Larger public and cross-subject testing | Real-time performance reference |
| Hand Gesture Recognition Using sEMG Signals With a Multi-Stream Time-Varying Feature Enhancement Approach | Shin et al., 2024 | NinaPro DB1 and DB9 | Prosthetic and HMI control | Multi-stream TCN/CNN/LSTM + channel attention | DB1: Acc 94.31%, Precision 95.60%, Recall 94.31%, F1 94.08% | Strong DB1 result; multiple metrics | No graph; 70/15/15 split | Graph model under subject-based evaluation | Strongest non-GNN DB1 benchmark |
| Dynamic Graph Transformer-Convolutional Network for Multi-Channel EMG Gesture Recognition | Wang et al., 2025 | Public multichannel EMG dataset | Biomedical gesture recognition | Dynamic GCN–Transformer; time-varying graph + self-attention | Acc: 97.24% | Dynamic channel relations; long-range temporal learning | Dataset and protocol unclear; not DB1 | Reproducible evaluation on NinaPro | Future dynamic graph architecture |

## Problem Statement

Existing sEMG-based studies mainly focus on classifying discrete hand gestures, although practical prosthetic control requires estimation of continuous finger and hand positions. Graph-based sEMG research also commonly uses custom or high-density electrode datasets, while continuous pose regression using low-channel public datasets remains less explored.

Another major problem is inter-subject variability. The same movement can generate different sEMG patterns across individuals. Models evaluated using random or within-subject splits may therefore perform poorly when applied to a completely unseen person.

This study addresses these problems by formulating hand-pose estimation as a cross-subject multi-output regression task. Windowed 10-channel sEMG signals from NinaPro DB1 will be used to predict synchronized 22-channel glove measurements through a graph-based regression model, with test subjects kept completely unseen during training.

## Research Objective

### Main Objective

To develop and evaluate a graph-based multi-output regression model for continuous hand-pose prediction from surface EMG signals and assess its generalization to previously unseen subjects using NinaPro DB1.

### Specific Objectives

- Prepare synchronized EMG–glove windows from NinaPro DB1.

- Use 10-channel windowed EMG as input and 22-channel glove measurements as regression targets.

- Develop conventional and deep-learning regression baselines.

- Construct a graph representing relationships among the EMG channels.

- Develop a GCN- or GAT-based multi-output regression model.

- Apply subject-independent training, validation, and testing splits.

- Compare graph-based regression with conventional regression and 1D-CNN baselines.

- Evaluate performance using MAE, RMSE, R2R^2R2, and Pearson correlation.

- Analyze overall, per-subject, and per-glove-channel prediction performance.